## Sheet1
EUI Comparison (kWh / m² / yr)
Model Comparison | EUI (kWh / m² / yr) | Building Orientation | [8 empty] | WWR - South Wall | [8 empty] | Window Shades - South | [5 empty] | Window Glass - South |  |  |  |  | ⁠WWR - North Wall | [8 empty] | Window Blinds - North | [5 empty] | Window Glass - North |  |  |  |  | WWR - West Wall | [8 empty] | ⁠Window Shades - West | [5 empty] | Window Glass - West |  |  |  |  | WWR - East Wall | [8 empty] | Window Shades - East | [5 empty] | Window Glass - East |  |  |  |  | Wall Construction | [8 empty] | Roof Construction | [7 empty] | Infiltration | [6 empty] | Lightning Efficiency | [5 empty] | Daylight & Residential Lighting Control |  |  |  |  | Plug Load Efficiency | [6 empty] | AC | [8 empty] | ⁠Operation Schedule |  |  |  |  | ⁠PV - Panel Efficiency |  |  | ⁠PV - Return Limit |  |  | ⁠PV - Surface Coverage
|  | 180° | 225° | 45° | 0° | BIM | 90° | 270° | 135° | 315° | 95% | 80% | 65% | 50% | 40% | 30% | 15% | BIM (0%) | 0% | BIM | 1/6 Win Height | 1/4 Win Height | 1/3 Win Height | 1/2 Win Height | 2/3 Win Height | Sgl Clr | Dbl Clr | Dbl LoE | BIM | Trp LoE | 95% | 80% | 65% | 50% | 40% | 30% | 15% | BIM (7%) | 0% | BIM | 1/6 Win Height | 1/4 Win Height | 1/3 Win Height | 1/2 Win Height | 2/3 Win Height | Sgl Clr | BIM | Dbl Clr | Dbl LoE | Trp LoE | 95% | 80% | 65% | 50% | 40% | 30% | BIM (16%) | 15% | 0% | BIM | 1/6 Win Height | 1/4 Win Height | 1/3 Win Height | 1/2 Win Height | 2/3 Win Height | Sgl Clr | BIM | Dbl Clr | Dbl LoE | Trp LoE | 95% | 80% | 65% | 50% | 40% | BIM (33%) | 30% | 15% | 0% | BIM | 1/6 Win Height | 1/4 Win Height | 1/3 Win Height | 1/2 Win Height | 2/3 Win Height | Sgl Clr | BIM | Dbl Clr | Dbl LoE | Trp LoE | BIM | R13 Wood | Uninsulated | R2 CMU | R13 Metal | R13 + R10 Metal | 14 Inch - ICF | R38 Wood | 12.25 Inch SIP | BIM | Uninsulated | R10 | R19 | R15 | 10.2 Inch SIP | R38 | R60 | 2.0 ACH | 1.6 ACH | 1.2 ACH | 0.8 ACH | 0.4 ACH | BIM | 0.17 ACH | 20.45 W/m² | 16.15 W/m² | 11.84 W/m² | BIM | 7.53 W/m² | 3.23 W/m² | None | BIM | Daylightning Control | Occupancy Control | Daylightning & Occupancy Control | 27.99 W/m2 | 21.53 W/m² | 17.22 W/m² | 13.99 W/m² | BIM | 10.76 W/m² | 6.46 W/m² | High Eff. VAV | ASHRAE VAV | ASHRAE Package System | BIM | High Eff. Package System | High Eff. Package Terminal Ac | ASHRAE Heat Pump | High Eff. Heat Pump | ASHRAE Package Terminal Heat Pump | 24/7 | BIM | 12/7 | 12/6 | 12/5 | 16% | 18.6% | 20.4% | 10 yr | 20 yr | 30 yr | 0% | 60% | 75% | 90%
Existing Building | 195 | 4.12 | 2.81 | 3.07 | 0.25 | 0 | -2.35 | -6.91 | -9.64 | -17.13 | 13.17 | 11.07 | 8.98 | 6.77 | 5.3 | 3.83 | 2.04 | 0.25 | 0 | 9.03 | 6.99 | 6.1 | 5.29 | 3.93 | 2.92 | 12 | 7.5 | 6.58 | 2.15 | 0.31 | 10.94 | 9.11 | 7.28 | 5.33 | 4.04 | 2.74 | 0.89 | -0.1 | -0.96 | 5.81 | 4.93 | 4.54 | 4.19 | 3.58 | 3.12 | 9.97 | 5.11 | 4.93 | 3.46 | -1.66 | 30.22 | 22.25 | 14.88 | 7.25 | 2.16 | -2.93 | -8.91 | -9.5 | -16.08 | 13.2 | 7.84 | 5.52 | 3.39 | -0.3 | -3.22 | 17.14 | 8.02 | 6.47 | 4.86 | -14.47 | 14.09 | 9.13 | 4.17 | -1.17 | -4.72 | -7.15 | -8.27 | -11.84 | -15.4 | 2.7 | -0.28 | -1.61 | -2.85 | -5.09 | -6.98 | 9.23 | -0.15 | -1.24 | -3.68 | -15.93 | 0 | -8.33 | -39.65 | -54.22 | -58.3 | -78.47 | -79.31 | -80.74 | -80.91 | 0 | -10.31 | -20.52 | -20.99 | -21.1 | -21.98 | -22.04 | -22.29 | 14.86 | 11.17 | 7.55 | 3.87 | 0.25 | 0 | -1.8 | 39.96 | 22.21 | 5.15 | 0 | -11.38 | -27.04 | 0.25 | 0 | -2.63 | -5.81 | -8.28 | 53.66 | 28.51 | 12.37 | 0.67 | 0 | -10.74 | -25.02 | 165.81 | 130.13 | -13.3 | 0 | -31.89 | -35.22 | -81.08 | -117.58 | -121.91 | 79.43 | 0 | -74.59 | -120.3 | -157.09 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Model 1 (Better)
Model 1 (Worse)
NZEB Building